## Sheet1
AI-Based Energy Consumption Prediction for Data Centers
Description:
"Critical Review of Existing Literature"
Member Name | Paper Title & Year | Paper Link | Methodology / Approach | Research Gap Identified | Dataset Used | Notes
Ashiq Anzum | Short-Term Load Forecasting for AI-Data Center (2025) | https://ieeexplore.ieee.org/abstract/document/11225317 | Three-stage workflow: data collection & preprocessing → model training → forecasting & application Models: LSTM, GRU, 1D-CNN 300-step (300s) lookback window predicting 90 seconds ahead Min-Max normalization; MSE loss; 70/15/15 train/val/test split | Lack of quality datasets for energy-intensive GPU/AI workloads Existing work covers workload/failure rates but not fine-grained, LLM-aware short-term power forecasting ARIMA and static models fail to capture non-linear, high-dimensional GPU power patterns | MIT Supercloud Dataset (real-world HPC system) NVIDIA Volta V100 GPUs / Intel Xeon Gold 6248 CPUs Feb–Oct 2021, 100ms logs (1s granularity used); 45 kW peak across 448 GPUs Workloads: vision nets (U-Net, VGG, ResNet), LMs (BERT, DistilBERT), GNNs | FC-LSTM best: RMSE 0.5624, MAE 0.2916, MBD 0.0319, sMAPE 2.2557, R² 0.9639 GRU: RMSE 0.5668, R² 0.9634 (slight negative bias) 1D-CNN: RMSE 0.5789, R² 0.9618 (most positive bias) All models track trends well but struggle with sudden spikes/dips. Forecasting horizon (seconds–30s) aligns with grid primary/secondary control response times Suggests pairing with BESS for peak shaving and arbitrage Future work: liquid neural networks for more resilient forecasting
Ashiq Anzum | Next-Generation Energy-Efficient Data Centers: Technologies, Trends, and Ai-Driven Optimisation for Sustainable Computing (2025) | https://papers.ssrn.com/sol3/papers.cfm?abstract_id=5339777 | Data cleaning (forward-fill, dedup, drop >15% null fields) → feature engineering → model training → evaluation → hyperscaler benchmarking Models: Random Forest, XGBoost, LSTM (2 stacked layers, 64/32 units, dropout 0.2, Adam, MSE) Engineered features: Cooling Load Proxy, Compressor Utilisation Ratio, PUE_estimate, lagged features (5/10/15 min) 10-step (10-min) lookback; GridSearchCV 5-fold for tree models; 80/20 split | Most AI cooling studies use simulated or proprietary data, limiting reproducibility Few studies use open, operational datasets for full-stack ML workflows Few connect AI predictions to long-term holistic metrics like PUE or benchmark against real hyperscalers | Kaggle “Data Center Cold Source Control” dataset (simulated but industrially representative) Features: CHWSetpoint, CWReturnTemp, CompressorFreq, CWFlow, fan speed, ambient conditions Continuous operational cycles across multiple shifts | LSTM best: RMSE 0.075, MAE 0.060, R² 0.93 XGBoost: RMSE 0.092, R² 0.88; Random Forest: RMSE 0.102, R² 0.86 Simulated PUE improvement ~0.08–0.12 (proxy PUE ~1.08), comparable to Microsoft Natick (~1.06) LSTM gave early anomaly detection 15–30 min ahead of PUE spikes..... Dataset is simulated, lacking real-world geographic/hardware diversity PUE is a derived proxy, not directly metered — possible accuracy bias LSTM is computationally heavier and less interpretable (black-box) than tree models Future work: federated learning, hybrid LSTM+RL, real-time thermal imaging
Ashiq Anzum | Designing and Analyzing Green Networking Solutions in Data Centers Using AI for Energy Optimization (2025) | https://www.researchgate.net/publication/394023068_Green_Computing_Advancing_Energy-Efficient_Data_Centers_With_AI | Four-component framework + feedback loop: (1) real-time data harvesting/preprocessing, (2) RL-based workload management, (3) AI-driven dynamic cooling, (4) predictive energy demand forecasting Algorithms formalized mathematically (normalization, Z-score outlier detection, workload balancing, cooling control, forecasting loss/weight updates) Continuous feedback loop refines models using real-time production data | Traditional techniques (DVS, VM consolidation) don't scale well to modern high-density, AI-driven workloads DVS effectiveness drops in high-density environments; VM consolidation risks performance degradation Lack of a unified, continuously adapting AI framework combining workload + cooling + forecasting | No named/public dataset disclosed Data implied from multi-data-center experiments via distributed sensor network (server utilization, thermal, energy, environment) Provenance and sample size not detailed | Workload management: energy −16.7% (1800→1500 kWh); idle server ratio −60%; utilization +50% Cooling: efficiency +30.8% (65%→85%); cooling energy −30%; predicted failures −66.7% Forecasting: ML accuracy 92% vs. 78% baseline; MAE 50→20 kWh; RMSE 70→30 kWh Overall PUE improved 20% (1.5→1.2); energy cost −20%; maintenance cost −20% .................... No clear dataset citation or reproducibility details; some numeric inconsistencies between tables (e.g., differing energy cost baselines) Less methodological transparency on architectures/hyperparameters than the other two papers Reads more as an illustrative case study than a fully reproducible pipeline Future work: scalability across diverse data centers, renewable energy integration
MD. Israfil Hossain | Machine learning approaches for efficient energy utilization in cloud data centers(2024) | https://www.sciencedirect.com/science/article/pii/S1877050924008457 | Comparative/review-style analysis of ML techniques applied to cloud data center (CDC) energy management. Covers CPU usage prediction, overload detection, underload estimation, and VM selection/migration/relocation strategies. Compares energy-saving results reported by different ML techniques against benchmark approaches under varying settings and parameters. | 1)No single original experiment — findings are aggregated/compared across multiple existing ML studies rather than one controlled experiment. 2)Wide, inconsistent result range (1.6%–88.5% energy savings) with no unified benchmark or standardized testbed, making cross-study comparison unreliable. 3)Focus is narrowly on VM-level resource management (CPU/overload/underload) — cooling systems and IT-cooling interdependency aren't addressed. 4)No discussion of ML models' own computational/energy overhead (the cost of running the ML system itself). | No original dataset — synthesized/compared from existing literature and prior experimental results (secondary analysis). | Useful as a broad landscape paper for VM-level ML energy techniques, but reads more like a survey than a novel contribution.
MD. Israfil Hossain | AI-Driven Load Balancing for Energy-Efficient Data Centers (2024) | https://www.ijcttjournal.org/archives/ijctt-v72i8p103 | Explores AI-based load balancing strategies (ML algorithms + predictive analysis) for dynamically assigning workloads, anticipating demand, and allocating resources in data centers. Evaluates effects on energy consumption, organizational productivity, computational cost/complexity, and real-time data handling. | 1)Paper reports results ("saved up to a third of energy") but methodology detail on the AI model/algorithm architecture used isn't deeply specified. 2)Real-time responsiveness vs. computational overhead trade-off is acknowledged as a concern but not quantitatively resolved. 3)No mention of testing across varying scales (small vs. hyperscale data centers). 4)Data protection/security implications are flagged as "important" but not experimentally evaluated. | Not a public benchmark dataset — appears to use an experimental/simulated setup for testing load-balancing scenarios (specific dataset not detailed in abstract). | Short paper (6 pages); good for illustrating load-balancing as an energy lever, but light on reproducibility details — worth flagging in presentation as "practitioner-style" rather than deeply technical.
MD. Israfil Hossain | Carbon Footprint Reduction for Sustainable Data Centers in Real-Time (2024) | https://arxiv.org/abs/2403.14092 | Proposes DC-CFR: a multi-agent Reinforcement Learning (MARL) framework that jointly optimizes cooling and IT load power consumption, shifts flexible loads based on renewable energy availability in the grid, and leverages battery storage — using collaborative RL agents to handle multiple objectives simultaneously in real time. | 1)Prior work (as the authors themselves note) lacked a real-time controller that optimizes all these goals (cooling, IT load, battery, grid carbon intensity) simultaneously — this paper fills that specific gap. 2)Still evaluated in a simulated/digital-twin environment, not a live production data center — real-world deployment validation remains open. 3)Heavy dependency on external variability (weather, grid carbon intensity forecasts) — robustness to forecast error isn't fully explored. | Simulated data center environment / digital twin (multi-agent RL benchmark environment developed by the same research group), incorporating grid carbon-intensity and weather data — not a static public dataset. | Advanced Green AI approach. Strong focus on carbon reduction rather than prediction accuracy. Better suited for future intelligent data center management systems.
Rafin | AI-Based Campus Energy Use Prediction for Assessing the Effects of Climate Change | https://www.mdpi.com/2071-1050/12/8/3223 | Methodology (Point-wise) Collect historical building and weather data. Collect building physical and functional characteristics. Cluster similar buildings using K-Means. Reduce feature dimensions using PCA. Predict monthly energy consumption using ARIMA. Compare with Polynomial Regression. Predict hourly energy consumption using LSTM. Validate the model using RMSE/CVRMSE. Apply future climate scenarios (2041, 2057, 2063). Analyze future campus energy demand under climate change. | Research Gap (Point-wise) Most studies focus on individual buildings, not campus-level prediction. Limited research on AI-based campus energy forecasting. Few studies include future climate change scenarios. Building functional space information is rarely used. Limited research on hourly campus-level energy prediction. No unified framework combining clustering, feature reduction, forecasting, and deep learning. | The study used real-world data from the University of Florida (UF), USA. | The study combines several machine learning and statistical algorithms to improve prediction accuracy. K-Means groups similar buildings, PCA selects the most important features, ARIMA forecasts monthly energy consumption, Polynomial Regression is used for comparison, and LSTM predicts hourly energy usage using weather and temporal variables. Each algorithm performs a specific task within the CEUP framework.
Rafin | AI-based model for Prediction of Power consumption in smart grid-smart way towards smart city using blockchain technology | https://www.sciencedirect.com/science/article/pii/S2667305324001145 | Collect power consumption data from the smart grid. Preprocess the data using Z-score Normalization. Extract spatial and temporal features using STC. Securely transmit and store data using Blockchain + DAA. Predict power consumption using LSTM-RNN. Optimize the prediction model using ISSA. Perform smart energy trading and communication using BSET-AVVO. Evaluate the model using MSE, Latency, Throughput, Power Consumption, and Response Time. | High computational complexity with large-scale smart grid data. Centralized system architecture reduces scalability and reliability. Existing models mainly perform short-term forecasting. Limited communication efficiency and higher latency. Weak security for data transmission and storage. Lack of integration between AI and Blockchain technologies. Poor handling of high-dimensional spatial-temporal data. No unified framework for prediction, security, and smart energy trading. | Dataset Type: Smart Grid power consumption data. Source: Smart city smart grid environment. | Z-Score Normalization Spatial Temporal Correlation (STC) Distributed Authentication and Authorization (DAA) Blockchain Technology Long Short-Term Memory Recurrent Neural Network (LSTM-RNN) Improved Sparrow Search Algorithm (ISSA) Blockchain-Based Smart Energy Trading with Adaptive Volt-VAR Optimization (BSET-AVVO)
Rafin | The impact of AI-based workload schedulers on energy efficient data centers | https://www.researchgate.net/profile/John-Mathew-26/publication/398228073_The_impact_of_AI-based_workload_schedulers_on_energy-_efficient_data_centers/links/692e7967a3f2c62161df3d3e/The-impact-of-AI-based-workload-schedulers-on-energy-efficient-data-centers.pdf | Collect historical workload and energy data. Analyze workload patterns using AI. Predict future workload demands. Build an energy consumption model. Dynamically allocate workloads to servers. Perform load balancing. Optimize cooling and thermal management. Continuously monitor and update scheduling decisions | No real-world experimental implementation. No benchmark dataset is used. No comparison between AI scheduling algorithms. No quantitative evaluation of energy savings. No prototype or deployment in actual data centers. Limited discussion of edge computing integration. Renewable energy integration is not evaluated. Federated learning is not explored. AI model accuracy is not compared. Carbon emission reduction is discussed but not measured. | This paper does not use any specific public or benchmark dataset because it is a review/survey paper. | Supervised Learning Unsupervised Learning Reinforcement Learning Machine Learning Deep Learning Hybrid Learning Models ARIMA (Workload Prediction) LSTM (Long Short-Term Memory) CNN (Convolutional Neural Network) Genetic Algorithm (GA) Particle Swarm Optimization (PSO)
Navia Ferdous Nowrin | AI-Powered Solutions for Enhancing Energy Efficiency and Resource Management in Modern Data Centers (2025) | https://www.researchgate.net/publication/389232601_AI-Powered_Solutions_for_Enhancing_Energy_Efficiency_and_Resource_Management_in_Modern_Data_Centers | This paper follows a literature-review/conceptual approach rather than original experimentation — the author synthesizes findings from ~32 secondary sources (mostly arXiv/IEEE papers, 2020–2021) to analyze how AI techniques (Predictive Analytics, Machine Learning, Reinforcement Learning, and Neural Networks) can improve data center energy efficiency across three key areas: predictive workload management, dynamic resource allocation, and adaptive cooling optimization. It uses borrowed data visualizations (energy distribution pie chart and a 2030 energy-consumption projection graph, both sourced from an external arXiv paper) to support its arguments, and qualitatively compares AI-driven methods against traditional static/manual approaches based on claims from cited literature — with no original dataset, experiment, or implementation conducted by the author. | 1.No original experiments — despite claiming evaluation in "virtual and real-world scenarios," no actual data, simulations, or metrics are presented. 2.No quantitative comparison — AI vs. traditional methods is discussed only qualitatively, with no numbers (energy saved, cost reduction, etc.). 3. Borrowed data/figures— both charts are taken from an external source, not the author's own work. 4. No implementation details— specific algorithms, models, or architectures for ML/RL/Neural Networks are never defined. 5. No discussion of AI's downsides — computational overhead, cost of deployment, and reliability of autonomous decisions are ignored. 6. No real-world case study — lacks a concrete industry example with before/after results. 7. IT–cooling interdependency ignored— the two biggest energy consumers (44% IT, 40% cooling) are discussed separately, not as a joint optimization problem. | None; the paper is a literature review with no original dataset. | 1.Problem: Data centers = 1-2% of global electricity use; traditional static/manual management can't handle variable workloads → wasted energy, ~4% of global GHG emissions. 2.Energy split: IT equipment 44%, Cooling 40% → main optimization targets. 3.AI tools: Predictive Analytics (forecasting), ML (detects inefficiencies), RL (learns optimal actions), Neural Networks (predicts cooling/energy settings). 4.3 key areas: Predictive workload management, dynamic resource allocation, cooling optimization. 5.Impact: Lower cost, better efficiency, reduced emissions vs traditional methods. 6.Future:Self-optimizing data centers, IoT/edge integration, renewable energy use. 2030 forecast: Energy use rises 7933% (worst) vs 1137% (best, with AI). 7.Gap:No original dataset/experiment — purely literature review; figures borrowed from another paper.
Navia Ferdous Nowrin | Powering Intelligence: Analyzing Artificial Intelligence and Data Center Energy Consumption (2024) | https://www.epri.com/research/products/3002028905 | This EPRI white paper uses a secondary data analysis / forecasting modeling approach rather than original experiments. The authors compiled data from multiple industry sources (Statista, CBRE, Cushman & Wakefield, U.S. EIA, McKinsey, expert interviews via PreScouter, and prior academic/industry studies as of November 2023) to build a bounding analysis of U.S. data center electricity consumption. They developed four scenario-based projections (Low 3.7%, Moderate 5%, High 10%, and Higher 15% annual growth rates) by combining historical load-growth trends (2000–2023) with expert assessments and known efficiency-gain patterns, then applied these national growth rates to state-level 2023 baseline data to forecast electricity consumption through 2030 for the top 15 and 44 significant data-center states. The paper also cross-references AI-specific energy metrics (e.g., watt-hours per ChatGPT/Google query, PUE trends, and per-model training energy consumption from published studies) to contextualize AI's contribution to load growth, but does not conduct its own primary experiments or original data collection. | 1.No original primary data/experiments — the paper relies entirely on secondary/aggregated sources (Statista, CBRE, EIA, expert interviews) rather than direct measurement of actual data center energy use. 2.National growth rates applied uniformly to states — the report itself admits (Appendix A) that projections use national growth rates and don't reflect region-specific growth patterns, even though data center demand is highly geographically concentrated. 3.AI's exact share of energy use is unclear — the paper estimates AI uses only "10%-20% of data center electricity today" but provides no rigorous methodology for isolating AI-specific consumption from general IT/cloud workloads. 4.Wide uncertainty range in scenarios — the 4.6%–9.1% range for 2030 electricity share is very broad, reflecting weak predictive precision; no sensitivity analysis or confidence intervals are given. 5.Excludes cryptocurrency mining — despite being a significant data-center-adjacent power consumer, it's explicitly left out, limiting completeness of the energy picture. 6.No standardized AI model efficiency benchmarking — energy consumption figures for different AI models (e.g., ChatGPT-3 vs. ChatGPT-4: 1,287 MWh vs. 62,318.8 MWh) come from disparate sources/methods, making cross-model comparison unreliable. 7.Limited real-time/operational data — the paper doesn't incorporate live monitoring data from actual data centers; it's based on projections and third-party estimates rather than empirical operational metrics. 8.Grid-side integration solutions remain conceptual — the "shared energy economy" model and hourly carbon-free matching are proposed as future directions but lack pilot-tested implementation data or case studies validating feasibility. | Statista — U.S. data center market stats (basis for Low Growth 3.7%) PreScouter SME interviews — expert assessment (Moderate Growth 5%) McKinsey— industry growth estimate (High Growth 10%) U.S. EIA — Electric Power Annual 2023 (state electricity consumption baseline) CBRE & Cushman & Wakefield — global data center market/capacity data IEA— World Energy Outlook 2022 (global electricity demand, Ireland data) CISCO & TeleGeography— internet traffic/IP data (Fig. 4) SimilarWeb— AI platform web traffic (ChatGPT, Bard, etc.) SemiAnalysis — AI query electricity cost analysis Multiple published AI studies — model-specific training energy data (ChatGPT-3/4, BERT, BLOOM, etc. in Appendix B) | Data center electricity use doubled 2017-2021 (Meta/Amazon/MS/Google) AI = 10-20% of data center electricity now, rising fast ChatGPT (2.9 Wh) ≈ 10x Google search (0.3 Wh) 2030 forecast: data centers → 4.6%-9.1% of U.S. electricity (vs 4% now) 15 states = 80% of U.S. load; Virginia ~25-46% of its own grid Energy split: IT 40-50%, Cooling 30-40%, Auxiliary 10-30% AI footprint: Training 30%, Inference 60% (biggest share) Fixes: pruning/quantization, TPUs/FPGAs, liquid cooling, renewables, SMRs 3 recommendations: improve efficiency → shared energy economy → better forecasting ChatGPT-4 alone: 62,318.8 MWh training energy Gap: no original dataset — synthesized from ~10-12 sources; national growth rates applied uniformly across states
Navia Ferdous Nowrin | AI, Data Centers and Energy Demand (2025) | https://www.ifri.org/sites/default/files/2025-02/ifri_buffard-rochegonde_ai_data_centers_energy_2025_2.pdf | This is a desk-based literature synthesis rather than an original empirical study: the authors aggregate and cross-compare secondary data and forecasts from established sources (IEA, Goldman Sachs, McKinsey, EPRI, Barclays, S&P, Synergy Research, Uptime Institute, Berkeley Lab), deliberately juxtaposing competing projections (e.g., 1,000–2,000 TWh by 2030) to expose the range of uncertainty rather than asserting one "correct" figure; they decompose historical electricity-demand drivers (efficiency gains, PUE, chip efficiency, data center scale) to explain past trends, use recent real-world case studies (Stargate, DeepSeek, FERC/Amazon, Ireland's grid moratorium) to ground the analysis in current events, and build qualitative "future trend" scenarios around bounding constraints (grid capacity, chip supply concentration, labor shortages, Big Tech/Big Oil strategy) — making their core contribution interpretive and critical (judging which forecasts seem overly bullish or plausible) rather than based on new data collection or modeling. | The paper is a synthesis of secondary forecasts, not primary research — its main gap is the lack of independent, empirical data to verify its claims. Specifically missing: (1) real demand-response/flexibility trial data for data centers (currently just speculative reasoning); (2) independent verification of AI per-task energy figures and DeepSeek's self-reported training costs; (3) lifecycle/embodied carbon accounting (chip manufacturing, e-waste) beyond operational electricity; (4) systematic water-stress analysis across regions; (5) deeper coverage of non-Western markets (China, India, Gulf states); and (6) quantitative modeling of the AI efficiency rebound (Jevons paradox) rather than just conceptual mention. In short: it reconciles others' projections well but doesn't generate new primary data to resolve the uncertainties it identifies. | No original dataset — the paper synthesizes figures from third-party sources: IEA (Electricity 2024, World Energy Outlook 2024), Goldman Sachs, McKinsey, Barclays Research, EPRI (2024 White Paper), Synergy Research Group (DC capacity trends), Uptime Institute (PUE data), Masanet et al. 2020/Berkeley Lab (DC energy drivers, peer-reviewed), NVIDIA (chip efficiency), Sasha Luccioni et al. 2024 (AI per-task energy), NERC (grid reliability), European Commission regulatory data, OpenAI's "Infrastructure is Destiny," SemiAnalysis (DeepSeek cost analysis), plus press reporting (Bloomberg, FT, Guardian) for case examples. It's a meta-analysis/literature synthesis, not primary data collection. | - ICT = 9% global electricity; data centers = 1–1.3%; AI = <0.2% - DC demand flat ~200 TWh/yr until 2018, then surged to 460 TWh by 2022 (efficiency gains plateaued) - 2030 forecast: global DC demand 1,000–2,000 TWh; US 7–13% of electricity; Europe 4–5% - DCs = only ~5% of global electricity demand growth — far behind AC, EVs, industry - US hosts >50% of world's data centers; concentrated in few states - 4 constraints: grid queues, huge investment needs, chip market concentration (Nvidia/TSMC) + trade war, labor shortages - Also: rising prices, water stress - Big Tech pushing nuclear/renewable PPAs but AI growth hurting climate targets - Big Oil sees AI as gas-demand tailwind + decarbonization tool - Key events: Stargate ($500bn US project), DeepSeek shock (efficient AI questioning demand growth), Paris AI Action Summit (Feb 2025, sustainability focus) - Future: bigger/more concentrated data centers; "frugal AI" & energy-sober AI use as 2025 themes - Conclusion:AI raises demand but won't cause runaway growth — bounded by grid, chips, trade war, adoption pace
Nur Amin | Enhancing Power Consumption Predictions in Data Centers Through Combined Multiple Linear Regression and Gradient Boosting Techniques on Hypervisor Load | https://ieeexplore.ieee.org/document/11145768 | The paper proposes a hybrid model called YUGO which combines Gradient Boosting and Multiple Linear Regression. First SNMP data is collected from servers. Then Gradient Boosting is used to capture non linear workload patterns. After that Multiple Linear Regression is applied to predict final power consumption. | Linear models cannot capture non linear relationships while non linear models are complex and not interpretable. There is no proper hybrid model that combines both advantages. | The dataset is collected from real data center environments using SNMP through Cacti NMS. It contains 23 workload metrics such as CPU and network usage. No physical sensors are used. | The model achieves high accuracy with MAE 1.46 and RMSE 1.50. It performs much better than traditional models like ARIMA and is cost effective.
Nur Amin | AI Data Centers and Power System Sustainability: Understanding the Sustainability Implications of AI-Driven Data Centers on Power Systems | https://arxiv.org/abs/2606.21064? | The paper proposes a dual path modeling approach combined with regional decomposition. It processes data using both global and local patterns. Machine learning models are applied to capture different energy consumption scenarios and improve prediction accuracy. | Most existing studies focus on single scenario or single model prediction. They do not consider multiple operating conditions and regional differences at the same time. As a result they fail to capture dynamic and complex patterns in data center energy consumption. There is a need for a model that can handle both global and local variations together. | The dataset consists of multi scenario energy consumption data collected from data centers. It includes different workload conditions environmental factors and regional characteristics. The dataset is divided into different regions or scenarios to support the decomposition based approach. | The proposed model improves prediction accuracy by handling both global and regional patterns. It performs better than single model approaches and adapts well to different scenarios.
Nur Amin | Enhanced LSTM Model for Data Center Energy Consumption Forecast | https://www.ijcttjournal.org/Volume-70/Issue-4/IJCTT-V70I4P105.pdf | The paper uses ARIMA SVR and LSTM models to predict energy consumption. These models are compared using performance metrics. The best model LSTM is enhanced and used to build the final prediction system. | Traditional statistical and machine learning models are not accurate enough for complex patterns. There is a need for a more efficient deep learning based model for better prediction. | The dataset is generated using EnergyPlus simulation based on a real data center in Lagos Nigeria. | The enhanced LSTM model gives better accuracy compared to ARIMA and SVR. It improves energy prediction and helps reduce cost and energy waste.